Andhra University

Department of Inorganic and Analytical Chemistry

M.Sc. (Final) Chemistry Syllabus for 4th Semester

Specialization - Analytical Chemistry

Paper - IV: Instrumental Methods of Analysis -II

(Effective from 2008-09 Admitted batch)

Unit – I: Spectro-analytical Methods of Analysis

(a)Flame photometry: theory, instrumentation, combustion flames, detectors, and   analysis of Na,  K, Ca, Mg

(b)Atomic Absorption Spectrometer: theory, instrumentation, flame and non-flame techniques, resonance line sources, hollow cathode lamp, instrumentation, chemical and spectral interferences, applications with special reference to analysis of trace metals in oils, alloys and toxic metals in drinking water and effluents

(c)Inductively coupled plasma spectrometer(ICP-AES, ICP-MS): principles, instrumentation, plasma, AES detectors, quadrupole mass spectrometers, difference between the two detectors, analysis methods for liquids and solids, applications in the analysis of trace and toxic metals in water, geological and industrial samples.

(d) Arc and Spark spectrographic Direct analysis of solid for metals.

Unit – II  Thermal methods of Analysis

(a)  Thermo gravimetry-theory, instrumentation, applications with special reference to

CuSO4.5H2O, CaC2O4.2H2O, CaCO3, (COOH)2.2H2O

(b) Differential thermal analysis-principle, instrumentation, difference between TG and    DTA -  applications with special reference to the clays and minerals, coals (fuels)

(c)Differential scanning calorimetry-principle, instrumentation, applications to inorganic materials like chlorates and per chlorates, ammonium nitrate,  organic compounds and Drugs.

Unit- III : Electro analytical Methods of Analysis - 1

- Voltametry and polarographic analysis : principle of polarography, residual  current, migration current, diffusion current, half-wave potential, Ilkovic equation, instrumentation, Dropping mercury electrode (DME), advantages and disadvantages of DME, qualitative and quantitative analysis of inorganic ions-Cu, Bi, Pb, Cd, Zn, AC polarography, pulse polarography

- Anode stripping voltametry: principle, instrumentation, Hanging mercury drop electrode, application in the analysis of Pb and Cd in environmental samples, principle of cathode stripping voltametry.

(c ) Coulometric analysis: principles of coulometric analysis with constant current, coulometric  analysis with controlled potential, applications of coulometric methods for the analysis of cations-As (III), Fe (II) and I- and S2- by using I2 liberations and Ce4+ liberation in solutions

Unit – IV Electro Analytical and Radio chemical methods of analysis - 2

- Ion Selective Electrodes: reference electrodes - hydrogen electrode, calomel electrode, silver chloride electrode; indicator electrodes – hydrogen and glass electrodes, theory of membrane potentials and liquid junction potentials, types of ion selective electrodes, basic properties, potentials and construction, calibration of ion selective electrodes, ion selective electrodes with fixed membrane sites, silver, lead, cadmium, sulfide, fluoride, cyanide and glass electrodes, applications in the analysis of air and water pollutants, principles of liquid membrane, gas sensing and enzyme based electrode

- Radio chemical methods of analysis: detection and measurement of radioactivity, introduction to radioactive tracers, applications of tracer technique, isotope dilution analysis -  applications, activation analysis – application, advantages and disadvantages, radio carbon dating technique

Text Books:

1.         Instrumental methods of analysis – H.H Willard, Meritt Jr. and J.A Dean

2.         Principles of instrumental analysis – Skoog and West

- Vogels Textbook of Quantitative Inorganic analysis – J. Basset, R.C Denney, G.H Jefferey and J.Madhan

- Instrumental methods of analysis – B.K Sarma, Goel Publishing House, Meerut

- Instrumental methods of Analysis – Chatwal and Anand

- Instrumental methods of Analysis – Ewing

Reference Books:

W.Wendtlandt, Thermal Analysis, John Wiley Sons, New York