Andhra University

Department of Inorganic and Analytical Chemistry

M.Sc.(Final) Chemistry	4th Semester Syllabus for Practicals

Specialisation - Analytical Chemistry

PRACTICAL – II (INSTRUMENTAL METHODS OF ANALYSIS)

- pH metry

- Determination of alkalinity in a colored effluent using pH metric end point

- Determination of purity of commercial HCl, H2SO4, H3PO4 and CH3COOH using pH metric end point

- Conductometry

- Determination of a mixture of strong acid and weak acid present in a colored effluent

- Potentiometry

- Determination of Cr (VI) with Fe (II) using potentiometric end point

- Determination of a mixture of Ce (IV) and V (V) with Fe (II) using potentiometric end point

- Determination of a mixture of Mn (VII) and V (V) with Fe (II) using potentiometric end point

- Determination of a mixture of bromide and chloride with AgNO3 using potentiometric end point

- Determination of KSCN with AgNO3 using potentiometric end point

- Spectrophotometry

- Determination of Fe (III) using KSCN

- Determination of nitrite in drinking water samples

- Determination of phosphate in fertilizer

- Simultaneous Determination of Cr (VI) and Mn (VII) in a mixture without separation

- Flame photometry

Determination of Na, K, and Li